# Public Notice

# Place du Centre - Update Fuel Tank System to Legislation– Public Comments Invited

**May 27, 2021 –** Public Services and Procurement Canada must determine whether the proposed Place du Centre - Update Fuel Tank System to Legislation, located in Gatineau, QC is likely to cause significant adverse environmental effects.

To help inform this determination, PSPC is inviting comments from the public respecting that determination. All comments received will be considered public and may be posted online. For more information, individuals should consult the [Privacy Notice on the Registry website](https://iaac-aeic.gc.ca/050/evaluations/protection).

Written comments must be submitted **by June 26, 2021** to:

Environment, Health and Safety  
2720 Riverside Drive, Ottawa, Ontario  
[TPSGC.RCNLVEEListedeControle-NCRECMPChecklist.PWGSC@tpsgc-pwgsc.gc.ca](mailto:TPSGC.RCNLVEEListedeControle-NCRECMPChecklist.PWGSC@tpsgc-pwgsc.gc.ca)

## The Proposed Project

Correction of deficiencies detected in the technical report of a specialist consultant. These deficiencies are in relation to the CSA B139 code and SOR 2008-197 regulations and concern the oil tank system registered with Environment Canada under number EC-00035832 and which has a total capacity greater than 5000L. The consultant will ensure that the corrections are made so that the system becomes compliant with the codes CSA B139-2009 and CSA B139-2019, CSA-C282-09, CCME 2003, construction code and safety code and SOR regulations 2008-197.

Examples of corrective measures to be taken: repair / replace / install fittings / valves, replace the containment box, modify the piping, confine spaces surrounding tanks / pipes / generators, install hoses, modify / add pipe supports, anchor the tank, clean / brush / paint the corroded pipes.